EXHIBIT C

Engineering Specifications for an Overhead Bipolar HVDC Transmission Line

Segment       of

GENERAL INFORMATION

1.	Name of Petitioner:

2.	Name or Circuit Number of Line:

3.	Length of Segment:       miles

4.	Segment is located in the following sections, townships, and ranges:

5.	Segment in  (   select phrase   )  in      .

6.	Segment will be maintained in accordance with the Iowa Electrical Safety Code and the           Edition of the National Electrical Safety Code.

7.	Maximum Capable of Operating Voltage:       kVDC	    Nominal Operating Voltage:       kVDC

NESC RULE 232D VERTICAL OVERHEAD CLEARANCE REQUIREMENTS

8.	Maximum DC Operating Voltage to Ground in Kilovolts:  (V) =

9.	Maximum Switching Surge Factor:  (PU) =

10.	Electrical Component of Clearance:  (D) =

|  | Nature of Surface Underneath Lines | Table 232-3 Reference Height | + | Electrical Component of Clearance (D) | = | Clearance* |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 11. | Open Ground | 14 ft. | + | ft. | = | ft. |  |
| 12. | Roads | 14 ft. | + | ft. | = | ft. |  |
| 13. | Railroads | 25 ft.** | + | ft. | = | ft. |  |
| 14. | Water | 12.5 ft. | + | ft. | = | ft. |  |
| 15. | Water Areas Suitable for Sailboating (<20 acres) | 16 ft. | + | ft. | = | ft. |  |
| 16. | Water Areas Suitable for Sailboating (20 to 200 acres) | 24 ft. | + | ft. | = | ft. |  |
| 17. | Water Areas Suitable for Sailboating (200 to 2000 acres) | 30 ft. | + | ft. | = | ft. |  |
| 18. | Water Areas Suitable for Sailboating (>2000 acres) | 36 ft. | + | ft. | = | ft. |  |
|  | * The Iowa Electrical Safety Code and the applicable edition of the NESC should both be referenced to determine the conditions at which the above clearances apply. |  |  |  |  |  |
|  | ** 199 IAC 42.6(2)”a” requires the height of a rail car to be 23 feet, 3 feet higher than the NESC, when calculating clearances. |  |  |  |  |  |

CONDUCTORS AND INSULATORS

19.	Number of Conductors per Bundle:

20.	Conductor Code Word:         Size:       MCM   Stranding:         Material:      _______

21.	Typical Tangent Structure Insulators:

22.	Typical Strain Structure Insulators:

|  | Insulator Bell Electrical Characteristics in Accordance with IEC 61325 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | DC Withstand Voltage |  | Dry Lightning Impulse Withstand Voltage | DC SF6 Puncture Withstand Voltage |
|  | Catalog Number | Dry 1 Minute | Wet 1 Minute |  |  |
| 23. |  | kV | kV | kV | kV |
| 24. |  | kV | kV | kV | kV |

25.	Number of Metallic Return Conductors (MRC):

26.	MRC(s) Maximum Operating Voltage:       	MRC(s) Typical Operating Voltage:

27.	MRC(s) Code Word:         Size:       MCM   Stranding:         Material:

28.	Shield Wire(s):

TYPICAL TANGENT STRUCTURES

29.	Construction Grade:      	Typical Span:       ft.	Maximum Span:       ft.

30.	Typical Tangent Structures are:

31.	Typical Height After Installation:       ft.

TYPICAL STRUCTURE DRAWING

32.	A dimensioned drawing of a typical tangent structure       been attached.

ADDITIONAL DRAWINGS REQUIRED FOR NEW CONSTRUCTION

33.	Angle structures       be used in this segment of line.  A dimensioned drawing of a typical angle structure       been attached.

34.	Dead-end structures       be used in this segment of line.  A dimensioned drawing of a typical dead-end structure       been attached.

35.	There    (select phrase)    along this segment of line.  Drawings showing the clearance envelope for each grain bin in relation to the proposed line    (select phrase)   .