IOWA UTILITIES COMMISSION

SPECIFICATIONS FOR PIPELINE

EXHIBIT C

1.	The proposed line will transport   				from   				, Iowa, to   					, Iowa.

The maximum actual operating pressure of the line will be   		 psig. (See a.)

When operated at an inlet pressure of   		 psig and an outlet pressure of   		 psig, it will transport				(mcf) per day.

2.	PIPE:	Total length (mi)		__________________________________

Length in Location Class 1     _             2     _             3    _              4         _        (See b.)

If more than one location class, attach a map or description showing the locations of each class.

High Consequence Area(s) (See c.) Yes _______   No _________

If yes, determined using (check one):	 Method 1_____   Method 2______

3.	PIPE SPECIFICATIONS:

External diameter (in)   		Wall thickness (in)

Weight per foot (lb)   		Minimum yield psi (SMYS)

Longitudinal seam type   		Pipe Specification (API, ASME)

Type of coating   		Manufacturer of pipe

% SMYS at MAOP

Potential impact radius (ft) ______________________________________________

If more than one type of pipe is used, provide specifications for each type and attach a map or description showing where each is located.

4.	Test Pressure (psig)   		Test medium

For existing lines, the date(s) of the test

5.	Maximum allowable operating pressure (MAOP), psig

(See d, e.)

Attach calculations showing how the MAOP was determined.

6.	Type of cathodic protection.  Anodes                Rectifier                Other (explain)

7.	VALVES AND FLANGES:

Valves:  API class                 _______      or pressure rating   	_________________

Flanges:  ASME or MSS class        ____               or pressure rating   	______

Type of valve (plug, gate, ball, etc.)

Method of valve connection (Flanged, screwed or welded)

Valve manufacturer's name and reference No.

Valve spacing   		 miles.

Rupture Mitigation Valves (RMVs) to be installed	Yes _____	No _______

Attach a map showing or describe the valve locations.

8.	The contents of this pipeline are/will be odorized.  Yes               No           _

9.	The pipeline is/will be designed and constructed to accommodate the passage of instrumented internal inspection devices.  Yes              No              (See f.)

If not, attach an explanation of why the pipeline cannot accommodate internal inspection devices, and a description of the measures and degree of difficulty that would be necessary to allow the line to accommodate such devices.

10.	STANDARDS:  Unless otherwise indicated, all design, construction, operation and maintenance records will be in accordance with the appropriate federal and state regulations and standards.  (See g.)

11.	CROSSINGS:  Listed on an attached sheet is the name and location (legal description) of each feature being crossed.

Railroads	Number of crossings   		 (See h.)

Federal or State Highways	Number of crossings

Foreign Pipelines	Number of crossings

Rivers, Streams, Bodies of Water	Number of crossings   		 (See i.)

12.	CONSTRUCTION:

If applicable, attached is information on any special design, construction, or test measures contemplated due to route conditions, environmentally sensitive areas, or other unusual circumstance.

The project has been designed and will be constructed to minimize the risk of damage to other utilities or disruption of service by those utilities. Petitioner will notify other utilities and exercise caution during construction in compliance with Iowa Code chapter 480.

The pipeline will be tested upon completion in accordance with the applicable provisions of 49 CFR Part 192, latest or replacement issue. The Utilities Commission will be notified prior to testing, and after completion a written report will be filed showing the test method and results.

Name of applicant   						  Date   			_____

Signed by   											_____

(Name and Title)

INSTRUCTIONS FOR EXHIBIT C

This form is to be filed with “Petition for Pipeline Permit,” “Petition for Renewal of Pipeline Permit,” or “Petition for Amendment of Pipeline Permit.”

a.	Maximum actual operating pressure is the maximum operating pressure that will exist in the piping system during a normal annual operating cycle.

b.	See 49 CFR 192.5

c.	See 49 CFR 192.903

d.	Unless otherwise requested by the petitioner, this pressure is the amount that will be specified in the operating permit, when and if issued.

e.	See 49 CFR 192.619

f.	See 49 CFR 192.150

g.  	See 199 IAC chapters 9 and 10

h.	If any of the railroad rights-of-way listed are abandoned, as defined in Iowa Code 
§ 327G.76, please so indicate.

i.	Shall include all navigable waterways, meandered streams, streams exceeding 100 feet in width between high water marks, and any stream where a crossing permit is required by another regulatory agency or agencies. Identify the agencies.

Rev. 1.2026